Zakup będzie realizowany z projektu: „Wstrząsy i deformacje górotworu na terenach pogórniczych: mechanizm, zagrożenia i ocena ryzyka / Induced earthquake and rock mass movements in coal post mining areas: mechanisms, hazard and risk assessment” (Akronim: PostMinQuake).

Projekt realizowany w ramach Funduszu Badań w obszarze Węgla i Stali (RFCS)

File number: FZ-1/5414/SK/20/BH				        	         Katowice,  17/09/2020

Concern: Preliminary inquiry to determine the value of the contract for the due tender procedure.

Dear Sir/Madam,

In connection with the implementation of the project PostMinQuake,  we ask for preliminary offer for delivery of seismographic apparatus.

Should be given:

- price excluding and including tax (the price should include all costs incurred by the Buyer). 
The Buyer allows the offer to be submitted in a different currency (e.g. €, £, $). For the purposes of determining the contract value, the Buyer will convert it according to the average NBP exchange rate on the last day of submitting offers,

-  technical description, name of the manufacturer, type/model,

- date and terms of execution of order,

- terms of payment,

- terms of guarantee

The preliminary offer should be submitted on the offer form - Annex 1 to the preliminary inquiry.

Description of the subject-matter of contract:

The subject of the contract is a development of existing digital real time continuous seismic network in Upper Silesia Coal Basin – Poland. Currently our institute manages the regional seismological network (GRSS) in Upper Silesia Coal Basin, built in 1976 and modernized in 2010. The network consists of 28 GeoSIG recorders, equipped with seismometers (14 stations), accelerometer sensors (9 stations) and downhole accelerometers (5 stations). Every year between 1000 and 2000 seismic events with local magnitude in the range of 1.5 ÷ 4.0 is recorded in our network. Monitoring and analysing of mining seismic events in USCB region are connected with the safety of the surface as well as the safe exploitation of mineral resources (rockbursts phenomena). For this reason the seismological network must be reliable and flexibility in the use of communications interfaces. We will  prefer seismic

portable recorders allowing for the data acquisition in the internal memory and for continuous data transfer to the Data Centre of GIG. At present, the GIG Data Centre uses GeoDAS software for acquisition of seismic data and for remote configuration of measurement stations. It is required that the new equipment was fully compatible with existing software. It would be important to have common trigger, common sampling and time synchronization for GRSS network. Additionally, we would like to use our software for the location of seismic events, calculate the velocity wave field using passive tomography method and estimate the seismic energy. For this reason a common relative time for all channels is very important. The system software should be a comprehensive solution for acquiring, transporting and processing seismic data in real time. The software should be able to localize seismic events, calculate magnitude and prepare necessary reports. Data import in ASCII format is required.

We expect the following configuration:

Development of the digital real time seismic network for continuous mining tremors monitoring (2 tri-axial seismic station):

- Recorders: 2 seismic field portable recorders (DC), 3 channel, 24 bit, internal or flash memory to storied seismic events, internal battery - rechargeable, 230 VAC External Power Supply, GPS with 20m cable, dynamic range min 120 dB @ 200 SPS, STA/LTA triggering, operational temperature: from -20oC to 70oC, line output for connection to a radio transmitter, TCP/IP Communication Option

- Sensors: 2 tri-axial seismometers (output sensitivity from minimum 0.5Hz to 150 Hz, output sensitivity: 300-500 V/m/s, full differential signal output: 10-20 Vpp,  cable inlet and connector)

- Software: software managing real time data acquisition, real time data processing, on- demand interactive analysis and review as well as report of mining seismic events

- Additionally: two AC adapters for seismic recorders

Place and date of  tendering

The preliminary inquiry must be submitted to  25/09/2020 by e-mail or at the Buyer’s residence:

Główny Instytut Górnictwa (Central Mining Institute)

Commercial Department (FZ-1)

Plac Gwarków 1

40-166 Katowice, Poland

adres e-mail: skolinska@gig.eu

Commercial contact:

M.A.  Sylwia Kolińska	 - tel. (32) 259 25 55, e-mail: skolinska@gig.eu

WE INVITE YOU TO SUBMIT OFFERS

Sincerely

M. Eng.  Marzena Kolczyk

Commercial Department

Zakup będzie realizowany z projektu: „Wstrząsy i deformacje górotworu na terenach pogórniczych: mechanizm, zagrożenia i ocena ryzyka / Induced earthquake and rock mass movements in coal post mining areas: mechanisms, hazard and risk assessment” (Akronim: PostMinQuake).

Projekt realizowany w ramach Funduszu Badań w obszarze Węgla i Stali (RFCS)

File number: FZ-1/5414/SK/20/BH							Annex 1

Preliminary offer for delivery of seismographic apparatus

Name /name and surname of Seller:

………………………………………

Address: ……………………………

Phone No: …………………………………………………

E-mail address: …………………………………………..

Contact person: ………………………………………….

| No | ### Technical description, name of the manufacturer, type/model | Unit of measure | Quantity | Unit price (net) …….* | Total value (net) …….* | Tax rate % | VAT value …….* | Value (gross) …….* |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |
| TOTAL: |  |  |  |  |  |  |  |  |

*currency to be indicated. In the case of foreign Seller who have not a branch in Poland only the blank spaces 
from 1 to  6 (Net unit price and net total value) should be filled in. In the case of a Polish Seller or Seller possessing 
a branch on the territory of Poland all blank spaces should be filled in independently on the given currency.

- Date and terms of execution of order: ……………………….

- Terms of payment: ……………………………………………

- Terms of guarantee: …………………………………………..

Information clause from Article 13 GDPR (General Data Protection Regulation):

According to Article 13, paragraph 1 and 2 of Regulation (EU) 2016/679 of the European Parliament and Council of 27 April, 2016 on the protection of natural person with regard to the processing of personal data and

on the free movement of such data and repealing Directive 95/46 / EU (general regulation on data protection) (Journal of Laws EU L 119 of 04.05.2016, page 1), hereinafter "GDPR", we informs that:

- the administrator of your personal data is:

Główny Instytut Górnictwa (Central Mining Institute)

Plac Gwarków 1

40 - 166 Katowice

Poland

- the inspector of personal data protection at the Główny Instytut Górnictwa (Central Mining Institute) is Mrs.M.A. Katarzyna Kareł, e-mail: gdpr@gig.eu

- your personal data will be processed on the basis of art. 6 par. 1 lit. c RODO for the purpose related to the public procurement procedure

- the recipients of your personal data will be persons or entities to whom the documentation of proceedings based on art. 8 and art. 96 para. 3 of the Act of 29 January 2004 - Public Procurement Law (Journal of Laws of 2017, item 1579 and 2018), hereinafter the "PZP Act";

- Your personal data will be stored in accordance with art. 97 par. 1 of the Public Procurement Law, for a period of 4 years from the date of completion of the procurement procedure, and if the duration of the contract exceeds 4 years, the retention period covers the entire duration of the contract;

- the obligation to provide your personal data directly to you is a statutory requirement set out in the provisions of the Public Procurement Law, related to the participation of in the public procurement procedure; the consequences of failure to provide specified data result from the PPL;

- in relation to your personal data decisions will not be taken in an automated manner, application to art. 22 RODO;

- you have:

- pursuant to art. 15 RDO the right of access to your personal data relating to;

- pursuant to art. 16 RODO right to rectify your personal data1;

- pursuant to art. 18 RODO the right to request the administrator to restrict the processing of personal data, subject to the cases referred to in art. 18 para. 2 RODO2;

- the right to file a complaint to the President of the Office for Personal Data Protection, if you decide that the processing of your personal data concerning you violates the provisions of the GDPR;

- you are not entitled to:

- in connection with art. 17 sec. 3 lit. b, d or e RODO right to delete personal data;

- the right to transfer personal data referred to in art. 20 RODO;

- pursuant to art. 21 RODO right to object to the processing of personal data, as the legal basis for the processing of your personal data is art. 6 par. 1point c RODO.

................................................................			...................................................................

(locality, date)				                                     (signature)