FZ-1/5460/AJ/20							Annex No. 1 to the inquiry

Technical requirements:

The subject of the inquiry is the purchase of a generator of positive and negative voltage intended for the surface charging of non - metallic materials – 1 set.

The offered device is to meet the following technical specification requirements:

HV generator – charging generator:

- value of the regulated output voltage minimum up to 60 kV; max 100kV,

- 230V mains supply and battery supply,

- output current on the HV side max 25µA,

- HV side output power max 1W,

- is required high voltage presence signaling,

- is required the possibility of holding the HV electrode in the hand during charging

- are required blade electrodes: single  and  multi - blade,

- the set is to have a transport case.