FZ-1/5475/AJ/20								Annex No. 1 to the inquiry

Technical requirements:

The subject of the inquiry is the purchase of dosemeters (300 pcs.) and holders for dosemeters (300 pcs.).

The offered parts must be brand new, adapted to use with owned by the Buyer Panasonic dosemeters system,

consisting of an automatic reader UD-7900M and automatic equipment UD-794D for irradiating dosemeters

and must to meet the following requirements:

| Description | Quantity pcs. |
| --- | --- |
| 4 elements UD–802AT–D TLD dosemeters with barcode, compatible: with holders for dosemeters UD–874ATM TLD and with Panasonic reader UD-7900M owned by the Buyer. | 300 |
| Plastic holders UD–874ATM TLD for dosemeters with separate metal grip – clip, compatible with Panasonic 4 elements UD–802AT–D TLD dosemeters. | 300 |