FZ-1/5470/AJ/20								Annex No. 1 to the inquiry

Technical requirements:

The subject of the inquiry is the purchase of apparatus for continuous detonation velocity measurement of explosives – 1 set.

The offered apparatus  is to meet the following technical specification requirements:

- Number of Channels: 1 velocity of detonation channel

- Resolution: minimum 12 bits

- Sampling frequency: minimum 1 MHz

- Recording time: minimum 100 ms with frequency 1 MHz

- Trigger mode: automatically on the velocity of detonation signal

- Safety: Unable to output as much as 50 mA of current

- Power: rechargeable

PC Connection: via USB

- Environmental: temperature range at least from -20 to +60˚C

- Minimum 100 m of coaxial cable to connect apparatus with probe

- 50 pieces of 0.9 m probe to velocity of detonation measurement